# S E M I N A R

## Room 205, Engineering/Physics

Thursday, February 28, 2008    3:55 - 5:10 P.M.

A SILICON-ON-SAPPHIRE INSSTRUMENT FOR ION

CHANNEL PATCH-CLAMP RESEARCH

by

Dr. Eugenio Culurciello

Yale University

New Haven, CT

Abstract:  I present a fully-integrated implementation of a patch-clamp measurement system. The low-noise system was implemented in a 0.5µm silicon-on-sapphire process and is capable of recording cell membrane currents in the whole cell configuration. The system can compensate for the capacitance and resistance of electrodes. The silicon-on-sapphire (SOS) fabrication process for integrated circuits features a nonconductive substrate, high-quality component isolation and multiple-threshold transistors. These features improve sampling speed and can significantly reduce electronic coupling noise in sensitive current-recording equipment such as patch-clamp amplifiers. An integrated version of the patch-clamp amplifier not only reduces the size of the instrumentation, but also obtains better electrical performance, since cabling and parasitic capacitances that lower the measurement bandwidth are kept to a minimum. The implementation of the integrated circuit in silicon-on-sapphire further reduces the capacitance by removing the influence of the substrate. The integrated patch-clamp system will be used to fabricate high-throughput planar patch-clamp systems.

Eugenio Culurciello (S'97-M'99) received the Ph.D. degree in Electrical and Computer Engineering in 2004 from Johns Hopkins University, Baltimore, MD. In July 2004 he joined the department of Electrical Engineering at Yale University, where he is currently an assistant professor. He founded and instrumented the E-Lab laboratory in 2004. His research interest is in analog and mixed-mode integrated circuits for biomedical applications, sensors and networks, biological sensors, Silicon on Insulator design and bio-inspired systems.